## Attic_Wall
Attic and Wall Data Sheet
For best accessibility, use the arrow keys to navigate through this form.
Client Name:
Job #:
Structural Information:
Type of Siding: | Condition of Siding:
Type of Foundation: | Condition of Foundation:
If not a slab foundation, how much clearance is under the house?
If applicable, is the floor insulated?
Conditioned Stories: | Ceiling Height:
Attic Inspection:
Existing Insulation Type: | Existing attic R value:
Is there access to the attic? | Is the hatch insulated, weatherstripped, and properly blocked?
Does operable knob and tube wiring exist? If yes, include attic layout with diagram of wiring. | Does any of the existing wiring require repairs? (open junction boxes, etc)?
Does recessed lighting exist? If yes, provide description and location below. | Are all heat sources (chimney, flue pipes, recessed lights, exhaust fans, etc) properly blocked?
Can/could the ceiling sustain the weight of existing/retrofit installed insulation?
Are there any current roof leaks? Evidence of past roof leaks?
If yes, provide desciption and location:
Does attic ventilation exist?
If yes, provide desciption of type and number of vents:
Is all exhaust ventilation terminated outside?
If no, provide description and location:
Additional comments
Wall Inspection:
Existing Insulation Type: | Existing wall R value:
Does operable knob and tube wiring exist? If yes, include layout with diagram of wiring (as accurate as possible). | Can the existing interior walls sustain the weight/pressure of retrofit installation? If no, explain below.
Does the dwelling contain aesbestos? Lead? If yes, describe where and in what form.
If yes, provide description and location:
Additional comments
Accept/Decline Measures
Insulation to be installed in my attic. I have been informed by agency staff of the potential
energy savings, which can result from this material being installed.
Insulation to be installed in my walls. I have been informed by agency staff of the potential
energy savings, which can result from this material being installed.
Client Signature
Agency Staff Signature
Date