## Instructions
Building Weatherization Report Instructions
Subrecipient: | Input the name of the Subrecipient doing the work on this client's home.
Job # | Enter the job number/client ID/audit number for this client.
Contract Number(s) | Enter the LIHEAP and/or DOE contract number(s) used on this unit.
County | Enter the county this client lives in.
Name | Enter the name of the head of household from the client application; enter first and last name.
Address | Enter the street address for this client.
Assessment Date | The date of the initial assessment.
Work Start Date | The date the actual weatherization work started at the unit.
Work End Date | The date the actual weatherization work was completed at the unit.
Total Square Footage of Conditioned Space | Enter the total square footage of this client's house.
Phone # | Enter the most relevant phone number used to contact this client.
Heating Equipment
Location | Indicate where in the unit the heating equipment is located
RPR | Select if this appliance was repaired during weatherization work.
RPL | Select if this appliance was replaced during weatherization work.
Type | UVSH - Unvented Space Heater VWF - Vented Wall Furnace FF - Floor Furnace CH - Central force air heater WS - Wood Stove Oven - Cookstove
Fuel | Select the appropriate fuel type for this appliance.
AFUE
Pre | AFUE or Efficiency of this appliance at the initial assessment. AFUE or efficiency can be calculated using the degradation formula.
Post | AFUE or Efficiency of this appliance at the final inspection. If the unit was replaced as an energy conservation measure, the AFUE or efficiency must meet Energy Star standards. If unit was not addressed, the reading will be the same as from the initial.
Monoxer
Pre | Carbon monoxide reading from appliance at initial assessment.
Post | Enter the CO readings of this appliance from the final inspection. Documentation of acceptable CO readings at the final inspection must be recorded.
Justification? ECM/H&S | Select the appropriate category that addressing this appliance fell under - Health & Safety expense, or as an Energy Conservation Measure. Proper support documentation is required for either category.
Cooling Equipment
Location | Indicate where in the unit the heating equipment is located
RPR | Select if this appliance was repaired during weatherization work.
RPL | Select if this appliance was replaced during weatherization work.
Type | Select the appropriate type of appliance. A/C Types are: WU - Window Unit EVAP - Evaporative Water Cooler CS - Central System
SEER
Pre | SEER or EER of this appliance at the initial assessment. This reading can be calculated using the degradation formula.
Post | SEER or EER of this appliance at the final inspection. If unit was replaced, the SEER/EER must meet energy star standards. If unit was not addressed, the reading will be the same as from the initial
Justification? ECM/H&S | Select the appropriate category that addressing this appliance fell under - Health & Safety expense, or as an Energy Conservation Measure. Proper support documentation is required for either category.
Weatherization Materials Installed
Fund | Select the fund source that was billed and paid for this individual measure.
Qty # | Enter the quantity used for this individual measure.
Cost
Labor | Enter the Total Labor Cost for this individual measure.
Material | Enter the Total Material Cost for this individual measure.
Total Cost of Weatherization Materials | Enter the total labor and materials cost for Weatherization measures performed.
Repair Materials Installed
Fund | Select the fund source that was billed and paid for this individual measure.
Qty # | Enter the quantity used for this individual measure.
Cost
Labor | Enter the Total Labor Cost for this individual measure.
Material | Enter the Total Material Cost for this individual measure.
Total Cost of Repair Materials | Enter the total labor and materials cost for Repair measures performed.
Health & Safety Materials Installed
Fund | Select the fund source that was billed and paid for this individual measure.
Qty # | Enter the quantity used for this individual measure.
Cost
Labor | Enter the Total Labor Cost for this individual measure.
Material | Enter the Total Material Cost for this individual measure.
Total Cost of H&S Materials | Enter the total labor and materials cost for H&S measures performed.
Is this a leveraged unit? | Select if this unit was leveraged with more than one fund source.
Total DOE funds used | Enter the total amount of DOE funds used on this unit. This amount should match all support accounting documentation.
Total LIHEAP funds used | Enter the total amount of LIHEAP funds used on this unit. This amount should match all support accounting documentation.
Total Othe funds used | Enter the total amount of OTHER funds used on this unit. This amount should match all support accounting documentation. Make sure to list the actual name of the other fund used on this house. Leveraging funds is highly encouraged.
Cost Category
Total Material Cost | Enter the total material cost from Weatherization Section plus Repair Materials Section. Do not include any H&S materials.
Total Labor Cost | Enter the total labor cost from Weatherization Section plus Repair Materials Section. Do not include any H&S labor.
Total Low-Cost/No Cost Materials | For an explanation of this total see 10CFR440.20 and or contact your assigned trainer.
Total Cost of Health and Safety | Enter the total labor and materials cost for H&S measures performed.
Total Cost of Labor and Materials | Add the items above and enter the total.
Certification | Must be signed and dated on or after the date of the final, passed inspection by the client and the agency representative. Any signatures obtained prior to that date will be subject to corrective action and/or disallowed cost.

## BWR
For best accessibility, use the arrow keys to navigate through this form.
BUILDING WEATHERIZATION REPORT
Subrecipient:
Job # | [7 empty] | Contract Number(s):
County: | Name |  |  |  | Address |  |  |  | Assessment Date
Work Start Date
Work End Date
Total square footage of conditioned space: | [8 empty] | Phone #:
Heating Equipment |  |  |  |  | AFUE |  | Monoxor |  | Justification? | Heater Types
Location | RPR | RPL | Type | Fuel | Pre | Post | Pre | Post | ECM/H&S | VSH
Water Heater |  |  | DWH |  | NA | NA |  |  |  | UVSH
CF | [9 empty] | VWF
SH1 | [9 empty] | FF
SH2 | [9 empty] | CH
UVSH | [9 empty] | WS
Oven
Cooling Equipment |  |  |  |  | SEER |  |  |  | Justification?
Location | RPR | RPL | Type | Fuel | Pre | Post |  |  | ECM/H&S | A/C Types
CS |  |  |  | Elec | [5 empty] | Central System
RAC1 |  |  |  | Elec | [5 empty] | EVAP
RAC2 |  |  |  | Elec | [5 empty] | Window Unit
RAC3 |  |  |  | Elec
RAC4 |  |  |  | Elec
Weatherization Materials Installed - (List in PL/SIR Order) | [7 empty] | Qty | COST
[7 empty] | Fund | # | Labor | Material
Total Cost of Weatherization Materials | [8 empty] | 0 | 0
BUILDING WEATHERIZATION REPORT
Repair Materials Installed | [7 empty] | Qty | COST
[7 empty] | Fund | # | Labor | Material
Total Cost of Repair Materials | [8 empty] | 0 | 0
Health & Safety Materials Installed | [7 empty] | Qty | COST
[7 empty] | Fund | # | Labor | Material
Total Cost of H&S Materials | [8 empty] | 0 | 0
Is this a leveraged unit? |  |  |  |  | Cost Category |  |  |  |  | TOTAL
[5 empty] | Total Material Cost |  |  |  |  | 0
Total DOE funds used: |  |  | $ |  | (including incidental repairs and excluding H&S)
[5 empty] | Total Labor Cost |  |  |  |  | 0
Total LIHEAP funds used: |  |  | $ |  | (including incidental repairs and excluding H&S)
Total Low-Cost/No Cost Materials
Total Other funds used: |  |  | $ |  | (NOT to exceed $50)
List OTHER fund: |  |  |  |  | Total Cost of Health and Safety |  |  |  |  | 0
(including material and labor)
Total Other funds used: |  |  | $ |  | TOTAL COST OF LABOR AND MATERIALS |  |  |  |  | 0
List OTHER fund: |  |  |  |  | (including Health and Safety costs)
CERTIFICATION
I certify the work indicated on this document has been satisfactorily completed, visually inspected, and that the
information provided herein is accurate and complete. I certify that I have provided the client with energy
conservation tips.
Authorized Agency Representative Signature | [8 empty] | Date
I certify that this weatherization work on my home has been completed. I will, to the best of my ability, utilize the
energy conservation tips provided to me in order to reduce my energy expenses.
Yo, certifico que este trabajo de climatizacion en mi casa ha sido terminado. Utilzare, de la mejor manera segun
mi habilidad, los consejos de conversacion de energia que han provisto para que asi reduzca aun mas gastos de
energia.
Client signature/Firma de cliente | [8 empty] | Date/Fecha
I _____________________________________ decline the installation of_____________________________________ provided by the weatherization assistance program. I have been informed of the energy savings of said materials.
Yo, _________________________________ declino la instalacion de ________________________________ provista por el programa de asistencia en climatizacion. He sido informado de los ahorros de energia de dichos materiales.
Client signature/Firma de cliente | [8 empty] | Date/Fecha